## Sheet1
| Hardware | Model/Type | Quantity | Details/Specs | Price/Unit | Price
Server Racks | Server Racks | StarTech 42U Rackmount Server Rack | 180 | 42U rack suitable for housing servers and networking equipment. | 431.99 | 77758.2 | Construction Item | Cost Range (€) | Description
| Rack Shelves | NavePoint 1U Universal Server Shelf | 180 | Affordable rack shelves for organizing servers and equipment within racks. | 89 | 16020 | Land Acquisition (5,000m²) | 920000 | Cost of purchasing land depending on location and proximity to infrastructure.
| Rack Mount Kit | APC 19" Rackmount Kit | 180 | Kit for securing equipment in the rack. | 30 | 5400 | Building Construction (per m²) | €800 per m² | Includes materials, labor, and building infrastructure
[5 empty] | Total | 99178.2 | Total Building Construction | 4000000 | Based on the size of the facility (for High-end construction).
[7 empty] | Power Infrastructure (UPS, Generators, PDU) | 1000000 | Includes uninterruptible power supplies, diesel generators, and power distribution units for 200–500 kW.
Servers | Server | HPE ProLiant DL380 Gen10 | 180 | High-performance server, dual CPU, 128GB | 3000 | 540000 | Backup Power Systems (Diesel Generators) | 1000000 | Backup power infrastructure for continuous operation during outages.
| Storage | Micron 7400 Pro 1.92Tb NVMe SSD | 180 | High-speed SSD storage for demanding applications. | 350 | 63000 | Renewable Energy Integration | 400000 | Integration of solar or wind energy sources from Morocco's renewable plants (e.g., Noor Solar Plant).
| RAM | HPE 128GB DDR4 RAM | 180 | High-performance RAM for compute-intensive workloads. | 850 | 153000 | Technical Infrastructure | 1321996.5333 | Costs for technical facilities
| Power Supply | HPE 800W PSU | 180 | Power supply optimized for high-performance servers. | 204 | 36720 | Operational & Miscellaneous Costs | 700000 | Includes legal, permits, administration, staffing, and training for the initial operational setup.
[5 empty] | Total | 792720 |  | Total Project Costs | 9368046.5333
Networking | Firewalls | Cisco ASA 5506-X | 15 | reliable firewall with solid security features for internal network protection. | 450 | 6750
| Switches | Cisco Catalyst 1000-24T | 50 | reliable managed switches for internal networking. | 600 | 30000
| Core Switches | Cisco Catalyst 9300 | 5 | Core switches to connect multiple racks and servers in a cost-effective manner. | 3000 | 15000
| Cables (Ethernet) | Jadaol CAT 6 Flat Ethernet Cable | 500 | High-speed Ethernet cables for internal networking. (need 34x15m) | 22 | 733.3333
| Cables (Fiber Optic) | Cable Matters 10Gb OM3 Fiber Optic | 200 | Fiber optic cables for connecting distant servers and switches. Need 200m | 19 | 3800
[5 empty] | Total | 56283.3333
Coolig systems | Air Conditioning Units | Liebert CRAC units | 10 | Portable air conditioning for cooling racks and servers. | 4500 | 45000
| Rack Fans | AC Infinity AIRPLATE S8 | 50 | Rack-mounted fans for efficient air circulation inside the server racks. | 81 | 4050
[5 empty] | Total | 49050
Power Systems | UPS | APC Symmetra PX 40kVA | 5 | UPS with surge protection for short-term backup power. | 20000 | 100000
| Power Distribution Units (PDUs) | Tripp Lite PDU3B-30 | 180 | Economical PDUs for managing power to multiple devices per rack. | 575 | 103500
| Generator | Generac Protector 22kW | 5 | backup generators for long-term power failure. | 10000 | 50000
[5 empty] | Total | 253500
Security Cameras & Monitoring | Security Cameras | Hikvision DS-2CD2143G0-I | 30 | High-end and reliable security cameras with 4k video Night vision . | 150 | 4500
| Environmental Monitoring | Temp Stick Wi-Fi Temperature Sensor | 10 | Sensors to monitor temperature and humidity levels for optimal conditions. | 130 | 1300
[5 empty] | Total | 5800
Software | Firewall Software | pfSense (Open-Source) | 1 | Open-source firewall and routing software for securing the network. | 100 | 100
| Virtualization Software | Proxmox VE (Open-Source) | 1 | Open-source hypervisor for server virtualization. | 75 | 75
| Backup Software | Duplicati (Open-Source) | 1 | Backup solution for secure data protection and disaster recovery. | 0 | 0
| Monitoring Software | Zabbix (Open-Source) | 1 | Open-source system monitoring and network performance tool. | 0 | 0
[5 empty] | Total | 175
Miscellaneous | Rack Mountable PDUs | Tripp Lite 12-Outlet PDU | 180 | Power strips designed for racks, distributing power efficiently. | 180 | 32400
| Cable Management | StarTech 1U Vertical Cable Manager | 180 | Cable organizers for server racks. | 38 | 6840
[5 empty] | Total | 39240
Fire Supression Systems | Control Panel | Fike Cheetah Xi | 1 | Intelligent control for fire suppression system, network-ready. | 2500 | 2500
| Gas Cylinders | FM-200 Suppression | 6 | Clean agent gas, 50 kg capacity each. | 1200 | 7200
| Nozzles | FM-200 Discharge | 12 | High-pressure nozzles for even gas distribution. | 150 | 1800
| Smoke Detectors | Honeywell VESDA | 10 | Very early smoke detection system. | 900 | 9000
| Heat Detectors | Edwards EST HDX | 10 | Fixed temperature heat detection sensors. | 300 | 3000
| Alarm Systems | Gent S4-34400 | 5 | Sounders with strobe lights for immediate alerts. | 150 | 750
| Manual Release Unit | Fike MRU-010 | 2 | Manual override for emergency discharge. | 400 | 800
| Installation Kit | FM-200 Accessories | 1 | Includes valves, connectors, and fittings. | 1000 | 1000
[5 empty] | Total | 26050
[5 empty] | Total Costs | 1321996.5333